## Slide 1: Malaria
Microscopy

## Slide 2
Malaria microscopy means to examine thin and thick blood smear microscopically , using x100 objective’s ( oil immersion lens).

## Slide 3: Firstly
Selection of sample :
Capillary blood
Venous blood ( EDTA anticoagulated blood) :
Take appropriate volume of blood.
Gently, Mix blood with anticoagulant.

## Slide 4
Prepare blood smear
Label with patient name or lab number and also the date of smear preparation.
Allow to dry at room temperature

## Slide 5: Thick smear
Needs more blood ( 3 drops)
Need more time to dry
Not need fixation
Used to detect the stage of plasmodium
More sensitive than thin smear
Nucleus of WBCs and parasite are only present

## Slide 6: Thin blood smear
Need one drop of blood
Dry rapidly
Need fixation with absolute methanol
Morphology of RBCs is preserved
Used to identify the plasmodium species
More specific than thick blood smear
RBCs ,WBCs, Platelets and parasite are present .

## Slide 7: Fixation of thin blood film
By absolute methanol (methyl alcohol)

## Slide 8: Staining
By Giemsa stain 10% or 3% .
stock Giemsa stain composed from:
Giemsa powder 3.8 gram
Glycerol 250 ml
Absolute methanol 250ml

## Slide 9: working Giemsa stain
Prepared according to the law of :
RV/O
R: required concentration (10 or 3%)
V: required volume
O : original concentration (100%)

## Slide 10
Each slide require 3 ml of working Giemsa stain .

## Slide 11: RBCS & plasmodium infection
Plasmodium falciparum infect all RBCS
Plasmodium vivax infect young RBCs
Plasmodium malariae infect aged RBCs

## Slide 12: Plasmodium and RBCs morphology
Normal shape and size in Plasmodium falciparum
Normal or smaller than normal in plasmodium malaria
Enlarge in plasmodium vivax
Enlarge and may take ovale shape in Plasmodium ovale.

## Slide 13: Early trophozoite of Plasmodium falciparum
Hyperparasitemia

## Slide 14: Gametocyte of plasmodium falciparum
Crescent shape
Banana shape
Sausage shape

## Slide 15: Plasmodium falciparum - stages

## Slide 16: Plasmodium malariae

## Slide 17: Rosette form – schizont

## Slide 18: Plasmodium vivax

## Slide 19: Schizont of plasmodium vivax

## Slide 20: Gametocyte – plasmodium vivax

## Slide 21: Late trophozoite of plasmodium vivax

## Slide 22: Trophozoite of plasmodium vivax

## Slide 23: Plasmodium ovale

## Slide 24: Gametocyte of plasmodium ovale

## Slide 25: Trophozoite of plasmodium ovale

## Slide 26: Schizont of plasmodium ovale